## Interactive
Interactive Cuff Configurator
Single tube Monitors |  | Typical Single tube fittings:
Choose this option if your monitor's NIBP hose has a single fitting on the cuff end. If you're not sure, scroll through the drop-down lists until you find your monitor. This list is for single tube monitors only. Choose your monitor by clicking on the highlighted cell. Then click on the down arrow to the right of the cell to scroll through the list of monitors. When you find your monitor, click on it and proceed to STEP 2.
STEP 1 - Choose your Monitor from the drop-down menu at right: | Dräger Narkomed 6400
Note the Correct Fitting: | single tube FL | HP | ML | FL
Please match the fitting to the picture to make sure the one you're looking for is referenced.
STEP 2 - For BP Cuff, choose the size from the drop-down menu at right: | Infant, 8-14cm
The Disposable Cuff you need is: | ST0814FL
The Reusable Cuff you need is: | US0814FL
Note: To clear lists, just delete the entry. |  | DM | MQ | MQML
Please note: If your monitor hose has been replaced and does not have the original fitting supplied by the manufacturer, the rendered answer will be invalid.
Double tube Monitors |  | Typical Double tube fittings:
Choose this option if your monitor's NIBP hose has two fittings on the cuff end. If you're not sure, scroll through the drop-down lists until you find your monitor. This list is for double tube monitors only. Choose your monitor by clicking on the highlighted cell. Then click on the down arrow to the right of the cell to scroll through the list of monitors. When you find your monitor, click on it and proceed to STEP 2.
STEP 1 - Choose your Monitor from the drop-down menu at right:
Note the Correct Fitting: | No Value | DM | MQ
Please match the fitting to the picture to make sure the one you're looking for is referenced.
STEP 2 - For BP Cuff, choose the size from the drop-down menu at right:
The Disposable Cuff you need is: | Please try again or contact Customer Support.
The Reusable Cuff you need is: | Please try again or contact Customer Support. |  |  | MB, Manual Bulb
Note: To clear lists, just delete the entry. |  | MQMF
Please note: If your monitor hose has been replaced and does not have the original fitting supplied by the manufacturer, the rendered answer will be invalid. |  |  |  |  | Configurator works in Microsoft Excel Version 2007 only.
Customer Support: 800-227-4414
Statcorp Medical, an OSI Systems company

## data (hidden)
Single Tube Monitor | Double Tube Monitor | Disp/Reus | ST or DT | Size | Cuff # | Description | Picture | Tags for fittings
BCI | Criticare 507 | Disposable | Single | Infant, 8-14cm | ST0814HP | SoftCheck BP Cuff, Infant single tube, HP |  | bayonet, quick connect, male HP, HP, notched
CAS manufactured after Jan 2008 | Critikon Dinamap | Reusable | Double | Child, 13-20cm | ST1320HP | SoftCheck BP Cuff, Child single tube, HP |  | male luer, slip luer, male slip fitting, ML
CAS manufactured before Jan 2008 | Datex Ohmeda |  |  | Small Adult, 18-26cm | ST1826HP | SoftCheck BP Cuff, Small Adult single tube, HP |  | female luer, female locking luer, female fitting, FL
Colin | GE Medical Systems Eagle 4000, Tram 100/200/300 |  |  | Adult, 26-35cm | ST2635HP | SoftCheck BP Cuff, Adult single tube, HP |  | dinamap fitting, screw fitting, DM
Criticare 508 | Invivo Research |  |  | Adult Long, 29-38cm | ST2938HP | SoftCheck BP Cuff, Adult Long single tube, HP |  | marquette fitting, twist-lock, sub-miniature, sub-min, MQ
Datascope Accutorr Plus | Manual Sphygs (Wall Mounted or on Roll Stands) |  |  | Large Adult, 32-42cm | ST3242HP | SoftCheck BP Cuff, Large Adult single tube, HP |  | marquette fitting, male marquette, female marquette, mated sub-miniature, mated sub-min, MQMF, marquette male & female
Datascope Passport 2 | MDE |  |  | Large Adult Long, 35-44cm | ST3544HP | SoftCheck BP Cuff, Large Adult Long single tube, HP |  | manual, manual bulb, bulb and valve, MB
Datascope Passport XG & Expert | Nihon Kohden Lifescope L |  |  | Thigh, 42-50cm | ST4250HP | SoftCheck BP Cuff, Thigh single tube, HP
Dräger Narkomed 6400 | Spacelabs double tube |  |  |  | ST0814ML | SoftCheck BP Cuff, Infant single tube, ML
IVAC 4200 | Welch Allyn |  |  |  | ST1320ML | SoftCheck BP Cuff, Child single tube, ML
Medtronics |  |  |  |  | ST1826ML | SoftCheck BP Cuff, Small Adult single tube, ML
Nihon Kohden Procyon & Ipro |  |  |  |  | ST2635ML | SoftCheck BP Cuff, Adult single tube, ML
Phillips Medical |  |  |  |  | ST2938ML | SoftCheck BP Cuff, Adult Long single tube, ML
Physio |  |  |  |  | ST3242ML | SoftCheck BP Cuff, Large Adult single tube, ML
Physiogard (Schiller) |  |  |  |  | ST3544ML | SoftCheck BP Cuff, Large Adult Long single tube, ML
Siemens |  |  |  |  | ST4250ML | SoftCheck BP Cuff, Thigh single tube, ML
Spacelabs single tube |  |  |  |  | ST0814FL | SoftCheck BP Cuff, Infant single tube, FL
Welch Allyn Protocol Propaq |  |  |  |  | ST1320FL | SoftCheck BP Cuff, Child single tube, FL
Welch Allyn Spot Check |  |  |  |  | ST1826FL | SoftCheck BP Cuff, Small Adult single tube, FL
Welch Allyn Vital Signs/ Atlas manufactured after July 2000 |  |  |  |  | ST2635FL | SoftCheck BP Cuff, Adult single tube, FL
Welch Allyn Vital Signs/ Atlas manufactured before July 2000 |  |  |  |  | ST2938FL | SoftCheck BP Cuff, Adult Long single tube, FL
Zoll |  |  |  |  | ST3242FL | SoftCheck BP Cuff, Large Adult single tube, FL
[5 empty] | ST3544FL | SoftCheck BP Cuff, Large Adult Long single tube, FL
[5 empty] | ST4250FL | SoftCheck BP Cuff, Thigh single tube, FL
[5 empty] | ST0814DM | SoftCheck BP Cuff, Infant single tube, DM
[5 empty] | ST1320DM | SoftCheck BP Cuff, Child single tube, DM
[5 empty] | ST1826DM | SoftCheck BP Cuff, Small Adult single tube, DM
[5 empty] | ST2635DM | SoftCheck BP Cuff, Adult single tube, DM
[5 empty] | ST2938DM | SoftCheck BP Cuff, Adult Long single tube, DM
[5 empty] | ST3242DM | SoftCheck BP Cuff, Large Adult single tube, DM
[5 empty] | ST3544DM | SoftCheck BP Cuff, Large Adult Long single tube, DM
[5 empty] | ST4250DM | SoftCheck BP Cuff, Thigh single tube, DM
[5 empty] | ST0814MQ | SoftCheck BP Cuff, Infant single tube, MQ
[5 empty] | ST1320MQ | SoftCheck BP Cuff, Child single tube, MQ
[5 empty] | ST1826MQ | SoftCheck BP Cuff, Small Adult single tube, MQ
[5 empty] | ST2635MQ | SoftCheck BP Cuff, Adult single tube, MQ
[5 empty] | ST2938MQ | SoftCheck BP Cuff, Adult Long single tube, MQ
[5 empty] | ST3242MQ | SoftCheck BP Cuff, Large Adult single tube, MQ
[5 empty] | ST3544MQ | SoftCheck BP Cuff, Large Adult Long single tube, MQ
[5 empty] | ST4250MQ | SoftCheck BP Cuff, Thigh single tube, MQ
[5 empty] | DT0814DM | SoftCheck BP Cuff, Infant double tube, DM
[5 empty] | DT1320DM | SoftCheck BP Cuff, Child double tube, DM
[5 empty] | DT1826DM | SoftCheck BP Cuff, Small Adult double tube, DM
[5 empty] | DT2635DM | SoftCheck BP Cuff, Adult double tube, DM
[5 empty] | DT2938DM | SoftCheck BP Cuff, Adult Long double tube, DM
[5 empty] | DT3242DM | SoftCheck BP Cuff, Large Adult double tube, DM
[5 empty] | DT3544DM | SoftCheck BP Cuff, Large Adult Long double tube, DM
[5 empty] | DT4250DM | SoftCheck BP Cuff, Thigh double tube, DM
[5 empty] | DT0814MQMF | SoftCheck BP Cuff, Infant double tube, MQMF
[5 empty] | DT1320MQMF | SoftCheck BP Cuff, Child double tube, MQMF
[5 empty] | DT1826MQMF | SoftCheck BP Cuff, Small Adult double tube, MQMF
[5 empty] | DT2635MQMF | SoftCheck BP Cuff, Adult double tube, MQMF
[5 empty] | DT2938MQMF | SoftCheck BP Cuff, Adult Long double tube, MQMF
[5 empty] | DT3242MQMF | SoftCheck BP Cuff, Large Adult double tube, MQMF
[5 empty] | DT3544MQMF | SoftCheck BP Cuff, Large Adult Long double tube, MQMF
[5 empty] | DT4250MQMF | SoftCheck BP Cuff, Thigh double tube, MQMF
[5 empty] | DT0814MQ | SoftCheck BP Cuff, Infant double tube, MQ
[5 empty] | DT1320MQ | SoftCheck BP Cuff, Child double tube, MQ
[5 empty] | DT1826MQ | SoftCheck BP Cuff, Small Adult double tube, MQ
[5 empty] | DT2635MQ | SoftCheck BP Cuff, Adult double tube, MQ
[5 empty] | DT2938MQ | SoftCheck BP Cuff, Adult Long double tube, MQ
[5 empty] | DT3242MQ | SoftCheck BP Cuff, Large Adult double tube, MQ
[5 empty] | DT3544MQ | SoftCheck BP Cuff, Large Adult Long double tube, MQ
[5 empty] | DT4250MQ | SoftCheck BP Cuff, Thigh double tube, MQ
[5 empty] | DT0814MB | SoftCheck BP Cuff, Infant double tube, MB
[5 empty] | DT1320MB | SoftCheck BP Cuff, Child double tube, MB
[5 empty] | DT1826MB | SoftCheck BP Cuff, Small Adult double tube, MB
[5 empty] | DT2635MB | SoftCheck BP Cuff, Adult double tube, MB
[5 empty] | DT2938MB | SoftCheck BP Cuff, Adult Long double tube, MB
[5 empty] | DT3242MB | SoftCheck BP Cuff, Large Adult double tube, MB
[5 empty] | DT3544MB | SoftCheck BP Cuff, Large Adult Long double tube, MB
[5 empty] | DT4250MB | SoftCheck BP Cuff, Thigh double tube, MB
[5 empty] | US0814HP | UltraCheck Reusable BP Cuff, Infant single tube, HP
[5 empty] | US1320HP | UltraCheck Reusable BP Cuff, Child single tube, HP
[5 empty] | US1826HP | UltraCheck Reusable BP Cuff, Small Adult single tube, HP
[5 empty] | US2635HP | UltraCheck Reusable BP Cuff, Adult single tube, HP
[5 empty] | US2938HP | UltraCheck Reusable BP Cuff, Adult Long single tube, HP
[5 empty] | US3242HP | UltraCheck Reusable BP Cuff, Large Adult single tube, HP
[5 empty] | US3544HP | UltraCheck Reusable BP Cuff, Large Adult Long single tube, HP
[5 empty] | US4250HP | UltraCheck Reusable BP Cuff, Thigh single tube, HP
[5 empty] | US0814ML | UltraCheck Reusable BP Cuff, Infant single tube, ML
[5 empty] | US1320ML | UltraCheck Reusable BP Cuff, Child single tube, ML
[5 empty] | US1826ML | UltraCheck Reusable BP Cuff, Small Adult single tube, ML
[5 empty] | US2635ML | UltraCheck Reusable BP Cuff, Adult single tube, ML
[5 empty] | US2938ML | UltraCheck Reusable BP Cuff, Adult Long single tube, ML
[5 empty] | US3242ML | UltraCheck Reusable BP Cuff, Large Adult single tube, ML
[5 empty] | US3544ML | UltraCheck Reusable BP Cuff, Large Adult Long single tube, ML
[5 empty] | US4250ML | UltraCheck Reusable BP Cuff, Thigh single tube, ML
[5 empty] | US0814FL | UltraCheck Reusable BP Cuff, Infant single tube, FL
[5 empty] | US1320FL | UltraCheck Reusable BP Cuff, Child single tube, FL
[5 empty] | US1826FL | UltraCheck Reusable BP Cuff, Small Adult single tube, FL
[5 empty] | US2635FL | UltraCheck Reusable BP Cuff, Adult single tube, FL
[5 empty] | US2938FL | UltraCheck Reusable BP Cuff, Adult Long single tube, FL
[5 empty] | US3242FL | UltraCheck Reusable BP Cuff, Large Adult single tube, FL
[5 empty] | US3544FL | UltraCheck Reusable BP Cuff, Large Adult Long single tube, FL
[5 empty] | US4250FL | UltraCheck Reusable BP Cuff, Thigh single tube, FL
[5 empty] | US0814DM | UltraCheck Reusable BP Cuff, Infant single tube, DM
[5 empty] | US1320DM | UltraCheck Reusable BP Cuff, Child single tube, DM
[5 empty] | US1826DM | UltraCheck Reusable BP Cuff, Small Adult single tube, DM
[5 empty] | US2635DM | UltraCheck Reusable BP Cuff, Adult single tube, DM
[5 empty] | US2938DM | UltraCheck Reusable BP Cuff, Adult Long single tube, DM
[5 empty] | US3242DM | UltraCheck Reusable BP Cuff, Large Adult single tube, DM
[5 empty] | US3544DM | UltraCheck Reusable BP Cuff, Large Adult Long single tube, DM
[5 empty] | US4250DM | UltraCheck Reusable BP Cuff, Thigh single tube, DM
[5 empty] | US0814MQ | UltraCheck Reusable BP Cuff, Infant single tube, MQ
[5 empty] | US1320MQ | UltraCheck Reusable BP Cuff, Child single tube, MQ
[5 empty] | US1826MQ | UltraCheck Reusable BP Cuff, Small Adult single tube, MQ
[5 empty] | US2635MQ | UltraCheck Reusable BP Cuff, Adult single tube, MQ
[5 empty] | US2938MQ | UltraCheck Reusable BP Cuff, Adult Long single tube, MQ
[5 empty] | US3242MQ | UltraCheck Reusable BP Cuff, Large Adult single tube, MQ
[5 empty] | US3544MQ | UltraCheck Reusable BP Cuff, Large Adult Long single tube, MQ
[5 empty] | US4250MQ | UltraCheck Reusable BP Cuff, Thigh single tube, MQ
[5 empty] | UD0814DM | UltraCheck Reusable BP Cuff, Infant double tube, DM
[5 empty] | UD1320DM | UltraCheck Reusable BP Cuff, Child double tube, DM
[5 empty] | UD1826DM | UltraCheck Reusable BP Cuff, Small Adult double tube, DM
[5 empty] | UD2635DM | UltraCheck Reusable BP Cuff, Adult double tube, DM
[5 empty] | UD2938DM | UltraCheck Reusable BP Cuff, Adult Long double tube, DM
[5 empty] | UD3242DM | UltraCheck Reusable BP Cuff, Large Adult double tube, DM
[5 empty] | UD3544DM | UltraCheck Reusable BP Cuff, Large Adult Long double tube, DM
[5 empty] | UD4250DM | UltraCheck Reusable BP Cuff, Thigh double tube, DM
[5 empty] | UD0814MQMF | UltraCheck Reusable BP Cuff, Infant double tube, MQMF
[5 empty] | UD1320MQMF | UltraCheck Reusable BP Cuff, Child double tube, MQMF
[5 empty] | UD1826MQMF | UltraCheck Reusable BP Cuff, Small Adult double tube, MQMF
[5 empty] | UD2635MQMF | UltraCheck Reusable BP Cuff, Adult double tube, MQMF
[5 empty] | UD2938MQMF | UltraCheck Reusable BP Cuff, Adult Long double tube, MQMF
[5 empty] | UD3242MQMF | UltraCheck Reusable BP Cuff, Large Adult double tube, MQMF
[5 empty] | UD3544MQMF | UltraCheck Reusable BP Cuff, Large Adult Long double tube, MQMF
[5 empty] | UD4250MQMF | UltraCheck Reusable BP Cuff, Thigh double tube, MQMF
[5 empty] | UD0814MQ | UltraCheck Reusable BP Cuff, Infant double tube, MQ
[5 empty] | UD1320MQ | UltraCheck Reusable BP Cuff, Child double tube, MQ
[5 empty] | UD1826MQ | UltraCheck Reusable BP Cuff, Small Adult double tube, MQ
[5 empty] | UD2635MQ | UltraCheck Reusable BP Cuff, Adult double tube, MQ
[5 empty] | UD2938MQ | UltraCheck Reusable BP Cuff, Adult Long double tube, MQ
[5 empty] | UD3242MQ | UltraCheck Reusable BP Cuff, Large Adult double tube, MQ
[5 empty] | UD3544MQ | UltraCheck Reusable BP Cuff, Large Adult Long double tube, MQ
[5 empty] | UD4250MQ | UltraCheck Reusable BP Cuff, Thigh double tube, MQ
[5 empty] | UD0814MB | UltraCheck Reusable BP Cuff, Infant double tube, MB
[5 empty] | UD1320MB | UltraCheck Reusable BP Cuff, Child double tube, MB
[5 empty] | UD1826MB | UltraCheck Reusable BP Cuff, Small Adult double tube, MB
[5 empty] | UD2635MB | UltraCheck Reusable BP Cuff, Adult double tube, MB
[5 empty] | UD2938MB | UltraCheck Reusable BP Cuff, Adult Long double tube, MB
[5 empty] | UD3242MB | UltraCheck Reusable BP Cuff, Large Adult double tube, MB
[5 empty] | UD3544MB | UltraCheck Reusable BP Cuff, Large Adult Long double tube, MB
[5 empty] | UD4250MB | UltraCheck Reusable BP Cuff, Thigh double tube, MB